Digital down-converter for low-latency beam position monitoring at synchrotron machines
Daniel de Oliveira Tavares
Beam Diagnostics Group
Brazilian Synchrotron Light Laboratory (LNLS)
Campinas, Brazil
daniel.tavares@lnls.br
Jaime Junior Luque Quispe
Department of Communications
University of Campinas (Unicamp)
Campinas, Brazil
xxx

Abstract—dasds
Keywords—digital down converter, beam position monitor, low-latency, orbit feedback
# Introduction
In relativistic synchrotron machines a beam of charged particles (e.g. electrons, protons or ions) travel inside a vacuum pipe either for producing strongly collimated and intensely bright synchrotron radiation (photon beams) or colliding highly energetic beams for particle physics research.
A primary measure of performance of such machines is the accuracy and precision at which these beams can be positioned over time at critical points, for instance the radiation source points at light sources and interaction points at colliders. For instance, modern light sources require around 100 nm precision within a 0.1-1 kHz bandwidth and below 1 µm accuracy within one week period of transverse beam motion at the most stringent points of the accelerator.
A careful machine design must be carried out in order to avoid excessive disturbances on the beam caused by natural and local sources, such ground motion, vibration, equipment power supply ripple, fast dynamic reconfiguration of magnetic elements, etc. However, the residual effects of such disturbances are often still substantial and need to be counteracted by a feedback system which senses the transverse beam position in several points of its trajectory (called the closed orbit) and actuates back to it to keep it within the desired limits (the golden orbit).
This paper presents an FPGA-based implementation of the required signal processing to extract transverse beam position information from sensor raw digitized data. It aims at optimizing the closed-loop response of the feedback system by means of the minimization of filters group delay and providing an efficient implementation in terms of FPGA logic resources. All the requirements used herein are related to the beam position monitoring (BPM) specifications of the new Brazilian synchrotron light source, called Sirius, currently in design phase at the Brazilian Synchrotron Light Laboratory (LNLS) and due mid-2016 for commissioning.

# Beam Position Monitoring of Charged Beams
## Measurement principle
For relativistic charged particle beams, clouds of particles travel almost at the speed of light. The measurement of the transverse position of the centroid of beam position .
## Orbit feedback
# State of the Art
## Commercial equipment
Instrumentation Technologies, Libera
## Laboratory developments
- Brazilian Center of Research in Energy and Materials, Sirius
- Paul Scherrer Institut (PSI), SLS
- Argonne National Laboratory (ANL), APS
- Brookhaven National Laboratory (BNL), NSLS-II
- Shanghai Institute of Applied Physics (SINAP), SSRF
## Equations
A.
ab	
Use “(1),” not “Eq. (1)” or “equation (1),” except at the beginning of a sentence: “Equation (1) is ...”
# Digital Down-Converter – Analysis
## Requirements for beam position calculationv
## Non-IQ coherent sampling

# Digital Down-Converter – Implementation
- Clock frequency: > 250 MHz
- Input data width: 16 bits
- Output data width: 25 bits
- NCO frequency must be an exact fraction of the data rate
- NCO frequency resolution must be an exact fraction of the clock frequency
- NCO data width: 25 bits
- NCO phase width: 12 bits
- CIC number of stages: 3
- CIC number of stages: 1
- CIC decimation rate: 1180

GNU Radio – CIC, improvement (differential delays)
Larry Doolitle (unrolled CORDIC v2.5)

## The phase accumulator

## NCO look-up table
## CIC decimation filter
## Rectangular to polar conversion (CORDIC)
# Digital Down-Converter – Performance
## Timing performance
## Spectral purity performance
# Conclusions
“Heading 4” are prescribed.
## Figures and Tables
### Po
References
1. G. Eason, B. Noble, and I.N. Sneddon, “On certain integrals of Lipschitz-Hankel type involving products of Bessel functions,” Phil. Trans. Roy. Soc. London, vol. A247, pp. 529-551, April 1955. (references)
2. G. Eason, B. Noble, and I.N. Sneddon, “On certain integrals of Lipschitz-Hankel type involving products of Bessel functions,” Phil. Trans. Roy. Soc. London, vol. A247, pp. 529-551, April 1955.